## Slide 1
ENERGY AUDIT CONDITIONAL GRANT RMK-12 FOR INDUSTRIAL AND COMMERCIAL SECTOR
(GENERAL INFORMATION)

## Slide 2
TABLE OF
CONTENT
02
03
04
05
07
INTRODUCTION
ELIGIBILITY
TERMS AND CONDITIONS
BENEFITS
ACHIEVEMENTS EACG RMK-11
08
CASE STUDY
06
APPLICATION PROCESS
01
OVERVIEW OF SEDA

## Slide 3
Overview
of SEDA
  SEDA was established on 1st September 2011 under the SEDA Act 2011 [Act 726] with some of the following functions:
01
02
03
04
05
06
07
To advise the Minister & Government Entities on all matters relating to sustainable energy
To promote & implement national policy objectives for renewable energy
To promote, stimulate, facilitate and develop sustainable energy
To promote private sector investment in sustainable energy sector
To act as focal point on matters relating to sustainable energy & climate change matters relating to energy
To implement, manage, monitor & review the Feed-in Tariff (FiT) system
To implement sustainable energy laws and recommend reforms to such laws to the Federal Government

## Slide 4
Members of Authority
Chief Executive Officer
Special Unit
Legal Unit
Strategic Planning and
Communications
Department
Chief Strategic Officer
Strategic Planning Division
Strategic Communications
Division
Operation and Technical Services
Department
Market Operations Division
Finance Division
Human Resource and
Administration Division
Technical Development and
Facilitation Division
Corporate Services
Department
Integrity Unit
Internal Audit Unit
Digital Services Division
TEAM STRUCTURE
Notes: To date, below portrays no of post in each division/unit, filled for each dept for reference:
Total
Post Available - 91
Filled - 77
Vacant – 14
Below according to each department:
CEO’s Office
Post Available - 14
Filled -12
Vacant – 2
Strategic Planning & Communications (SPC)
Post Available - 20
Filled -15
Vacant – 5
Operations & Technical Services (OTS)
Post Available - 29
Filled - 24
Vacant – 5
Corporate Services (CS)
Post Available - 28
Filled - 26
Vacant – 2

## Slide 5
INTRODUCTION
Approval
Applicant
Auditor
Implementing Agency
Executing Ministry
Coordinator
Building
or
Installation Owner
ESCO
Energy Service Company
Must be registered with
ST (Peninsular & Sabah)
EIU (Sarawak)
Grant will be given to the building owner
Building owner must appoint Energy Service Companies (ESCO) to carry out energy audit activities
Building owner will use the grant for energy audit purposes
The Energy Audit Conditional Grant (EACG) is an energy efficiency programme under the 12th Malaysia Plan (RMK-12) for the implementation year of 2021-2025.
Grant
Industrial : up to RM 100,000
Commercial : up to RM 60,000

## Slide 6
ELIGIBILITY
ELECTRICITY USAGE
Open to any commercial and industrial installation with minimum monthly consumption
100,000 kWh/month
NOT A PREVIOUS EACG APPLICANT
Not eligible for any installation which has received a grant from the previous Energy Audit Conditional Grant
AGREED TO APPOINT PERSON IN CHARGE

## Slide 7
TERMS AND CONDITIONS
Target savings (%) are based on Energy Audit Report
Must appoint
REEM or PIC
Implementation Cost
>
Grant Applied
Energy Audit
2 months
=
Reporting:
Every 3 months to SEDA
Every 6 months to EMIS
IMPLEMENTATION PHASE
(3 years)
ENERGY AUDIT PHASE
(2 months)
REEM : Registered Electrical Energy Manager
EMIS : Energy Management Information System

## Slide 8
BENEFITS
Identify Potential Energy Savings
FREE Awareness
FREE Facilitation
Financial Assistance
(Grant)
FREE Training
FREE Recognition

## Slide 9
BENEFITS
ENERGY MANAGEMENT & ENERGY AUDIT TRAINING
RECOGNITION - GreenPASS Certification

## Slide 10
ESCO
Applicant
SEDA
WHOLE PROCESS
20% Grant
Energy Audit Report
Contract Document
Offer Letter
Approval
80% Grant
End of Contract
Evaluation Comm.
Technical Comm.
Steering Comm.
Sign and return in 7 days
OFFER LETTER
Sign and return in 1 month
Invoice or Surat Permohonan Penyaluran Geran
Invoice or Surat Permohonan Penyaluran Geran
Monitoring and
Implementation
Every 3 months
Every 6 months
(EMIS)
Investment > Grant
Achieved % savings
ESCO appointment ends here
Energy Audit
starts here

## Slide 11: Installation Review
Installation Name | Factory A
Building Location | Northern Region
Nature of Business | Plastic Manufacturer
Electricity Tariff Category | E2
Annual Electricity Consumption (kWh) 2021 | 5,451,816.00 kWh
CASE STUDY (Industrial Sector)

## Slide 12: Load Apportioning
CASE STUDY
Chart: 
| Air-Cond/Process Cooling | Lighting | Fan & Blower | Compressed Air | Production
Sales | 18 | 0.7 | 9.8 | 4.5 | 67

## Slide 13: Proposed ESM from Energy Audit Findings
Energy Saving Measurement (ESM) | Energy Savings (kWh) | Cost Savings (RM) | System Savings (%) | Overall Savings (%) | CO2 Savings (ton/year)
No Cost Measures |  |  |  |  | 
ESM 1 – Adjust the VFD frequency setting to 45Hz for dust collector P5 & P6 blower fan | 66,689.56 | 23,674.79 | 12.48 % | 1.22 % | 42.61
Low & Medium Cost Measures |  |  |  |  | 
ESM 2 – Awareness Training | 16,500.00 | 5,857.50 | - | 0.30 % | 10.54
ESM 3 – Leak test and repair leak for compressed air system | 12,498.90 | 4,437.11 | 5.09 % | 0.23 % | 7.99
ESM 4 – Install new VFD to reduce speed for dust collector P3 | 40,789,84 | 14,480.39 | 7.63 % | 0.75 % | 26.06
ESM 5 – Replace existing AHU motor with higher | 16,027.92 | 5,689.91 | 1.63 % | 0.29 % | 10.24
High Cost Measures |  |  |  |  | 
ESM 6 – Separate the chilled water system loop for production and air-conditioning system | 231,876.00 | 82,315.98 | 23.63 % | 4.25 % | 148.17
TOTAL | 384,382.21 kWh | RM 136,455.69 | - | 7.05 % | 245.62
CASE STUDY

## Slide 14: Implemented ESM
Energy Saving Measurement (ESM) | Investment Cost (RM) | Baseline Consumption (kWh) | Current Consumption (kWh) | Annual Cost Savings (RM) | Annual System Savings (%)
No Cost Measures |  |  |  |  | 
ESM 1.1 – Adjust the VFD frequency setting to 45Hz for dust collector P5 blower fan | 0 | 18.45 | 14.04 | RM 18,092.34 | 23.9 %
ESM 1.2 - Adjust the VFD frequency setting to 45Hz for dust collector P6 blower fan | 0 | 25.54 | 15.37 | RM 41,723.15 | 39.8 %
Medium Cost Measures |  |  |  |  | 
ESM 4 - Install new VFD to reduce speed for dust collector P3 | 5,000.00 | 16.60 | 14.71 | RM 7,753.86 | 11.4 %
TOTAL | RM 5,000.00 | - | - | RM 67,569.35 | -
CASE STUDY

## Slide 15: Building Review
Building Name | Hotel A
Building Location | Sarawak
Nature of Business | Hotel
Net floor area () | 27,064
Annual Electricity Consumption (kWh) 2017 | 5,976,718.00 kWh
BEI Baseline (2017) | 220.84
Building Name | Hotel A
Building Location | Sarawak
Nature of Business | Hotel
Annual Electricity Consumption (kWh) 2017 | 5,976,718.00 kWh
BEI Baseline (2017) | 220.84
CASE STUDY (Commercial Sector)

## Slide 16
Building Load
Chart: 
| Chiller Plant (Water Side) | AHU & FCU (Air Side) | AC Split Unit | Lighting | Lift & Escalator | Equipment
Energy Apportioning % | 0.41 | 0.11 | 0.02 | 0.08 | 0.01 | 0.37
CASE STUDY

## Slide 17: Proposed ESM from Energy Audit Findings
Energy Saving Measurement (ESM) | Energy Savings (kWh) | Cost Savings (RM) | % Impact | CO2 Savings
No Cost Measures |  |  |  | 
ESM 1 – Motor operation efficiency check for AHU | 9,775.00 | 2,187.55 | 0.16 % | 6.83
ESM 2 – Increase chilled water set point at Chiller 1 | 33,945.00 | 7,597.00 | 0.57 % | 23.56
Low & Medium Cost Measures |  |  |  | 
ESM 3 – Reschedule 3 nos of corridor AHU operating hours & install timer | 67,871.00 | 15,189.49 | 1.14 % | 47.1
ESM 4 - Retrofitting Fluo T8 18W to LED surface mounted 12W | 21,304.00 | 4,767.91 | 0.36 % | 14.78
ESM 5 - Retrofitting PAR38 Halogen 120W to PAR LED 17W | 15,833.00 | 3,879.12 | 0.26 % | 10.99
ESM 6 - Installation of VSD at Chilled Water Pumps (CHWP) 1 | 32,779.00 | 7,335.96 | 0.55 % | 22.75
ESM 7 - Establish of Sustainability Energy Management Systems (SEMS) | 107,581.00 | 30,476.91 | 1.80 % | 74.66
High Cost Measures |  |  |  | 
ESM 8 - Retrofitting pf existing E14 Incandescent 25W to LED 2.3W | 36,445.00 | 8,929.10 | 0.61 % | 25.29
ESM 9 - Retrofitting of existing M16 Halogen 50W to M16 LED 5W | 98,952.00 | 22,145.38 | 1.66 % | 68.67
ESM 10 - Retrofitting of existing chiller 3 to Energy efficient chiller | 554,543.00 | 124,106.73 | 9.28 % | 384.85
TOTAL | 979,028.00 kWh | RM 226,615.15 | 16.38 % | 679.49
CASE STUDY

## Slide 18: Implemented ESM
Energy Saving Measurement (ESM) | Investment Cost (RM) | Energy Savings (kWh) | Cost Savings (RM)
No Cost Measures |  |  | 
ESM 1 – Motor operation efficiency check for AHU | 0 | 9,775.00 | 3,568.00
ESM 2 – Increase chilled water set point at Chiller 1 | 0 | 47,524.00 | 17,346.00
Low & Medium Cost Measures |  |  | 
ESM 3 – Reschedule 3 nos of corridor AHU operating hours & install timer | 270.00 | 67,871.00 | 15,189.49
ESM 4 - Retrofitting Fluo T8 18W to LED surface mounted 12W | 1,976.00 | 21,304.00 | 4,767.91
ESM 5 - Retrofitting of existing M16 Halogen 50W to M16 LED 5W | 2,984.00 | 15,833.00 | 3,879.00
High Cost Measures |  |  | 
ESM 6 - Retrofitting pf existing E14 Incandescent 25W to LED 2.3W | 14,826.00 | 554,543.00 | 124,107.00
ESM 7 - Retrofitting 208 nos of FL to LED | 13,064.00 | 6,149.00 | 1,537.00
TOTAL | RM 33,119.00 | 772,998.84 kWh | RM 170,393.18
CASE STUDY
Percentage Energy Savings Reported:
12.1 %

## Slide 19
SUCCESSFUL STORY OF EACG RMK-11 (COMMERCIAL SECTOR)
EACG RMK-11 (INDUSTRIAL SECTOR):
Energy Savings (kWh) Reported
Chart: 
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Energy Savings, kWh | 24949972 | 86412291 | 136607374 | 176260012 | 215140922 | 241132323
≈ RM 95,130,000
*Data as of Dec 2022
241,132,323 kWh

## Slide 20
SUCCESSFUL STORY OF EACG RMK-11 (COMMERCIAL SECTOR)
EACG RMK-11 (COMMERCIAL SECTOR):
Energy Savings (kWh) Reported
Chart: 
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Energy Savings, kWh | 5955026 | 17169012 | 33527944 | 59878655 | 74215996 | 78277375
≈ RM 105,077,190
*Data as of Dec 2022

## Slide 21
For 2024
120 quota for industrial
94 quota for commercial
8 physical seminar/promotions
11 trainings
RM 18.8 million approved
EACG

## Slide 22
FOR
INQUIRIES
OR
Officer | Email | Number
Zulkhairee | Zulkhairee@seda.gov.my | 018-9485525
EACG | eacg@seda.gov.my | 03-88705800
Contact us at:
Website: www.seda.gov.my/eagrant

## Slide 23
6th ISES2024 – PROPOSED CONTENTS AND SPEAKERS
The 6th International Sustainable Energy Summit (ISES) 2024

## Slide 24
RE & EE Training Modules